Application of finite-time control Lyapunov function in low-power PMSG wind energy conversion systems for sensorless MPPT

Amin M. Shotorbani1, Saeid Ghassem-Zadeh2, Behnam Mohammadi-shoto3, Seyed Hossein Hosseini4, Mehran Sabahi5

1 a.m.shotorbani@tabrizu.ac.ir, 2 g_zadeh@tabrizu.ac.ir, 3 bmohammadi@tabrizu.ac.ir, 4 hosseini@tabrizu.ac.ir, 5sabahi@tabrizu.ac.ir

1-5 Faculty of Electrical and Computer Engineering, University of Tabriz, Tabriz, Iran

Abstract

This paper discusses the problem of observer-based finite-time control (FTC) of a grid-connected wind turbine and a low-power permanent magnet synchronous generator (PMSG). An adaptive nonlinear observer is employed to estimate the mechanical variables. Maximum power point tracking (MPPT) is obtained using the estimation of rotor speed and torque from the adaptive observer, and excluding the wind speed sensor. Improvement of the MPPT technique through the designed FTC is investigated. The proposed controller stabilizes the WECS and tracks the reference trajectories in a short pre-known time alternative to common nonlinear controllers with large settling time. The suggested controller is also robust against uncertainties in WECS parameters. Parameters’ variations are compensated by robust control design. Finite time stability and robustness of the proposed WECS controller is mathematically proved. Moreover, the advanced performance of the suggested FTC is demonstrated by simulation and is compared to a conventional asymptotic convergent controller (ACC). The proposed FTC provides fast and robust rotor speed regulation and thus enhances the sensorless MPPT. The proposed FTC improves the WECS performance for tracking of ramp references and robustness against parameter uncertainties. Furthermore, advanced control of the grid-side converter yields improved resiliency and reliability.

Keywords: Wind turbine, PMSG, control Lyapunov function, robust control, adaptive state observer.

- Introduction

Nowadays, distributed energy resources (DER) are putative as a technology of utility generation, for their capabilities in providing; backup power, demand and peak power reduction, improved power quality, and ancillary services to the grid [1]. Wind energy, as a DER, is noticeably taking part in electricity generation for its renewable nature, reduced environmental impacts, high installed capacity, its applications in smart grids, and islanded operation capability [2].

The wind energy is converted into mechanical power through a wind turbine (WT) and consequently into electrical energy with an induction or a synchronous generator. Usually, power electronic devices are used to interconnect the synchronous generators to the grid [1]. Fundamentally, wind energy interfacing systems can be categorized as [3]: direct connection, partially-rated power electronics, and full-scale power electronics interface (FSPE).

In a FSPE system, generation system is a conventional synchronous generator or a PMSG to interface the WT to the grid. WT’s output power should be converted to a utility-compatible variable voltage and variable frequency output [3] in order to be serviceable. Although FSPE system causes extra losses in this design, variable speed mode operation ability of FSPE topology provides more energy to be captured, and therefore enables maximum power point tracking (MPPT) [1]. PMSG has numerous advantages to improve power extraction from WTs such as high power density, exclusion of the gearbox, and reduced need for maintenance. For a PMSG with FSPE system, control of the back-to-back voltage source converter (VSC) provides some advantages including MPPT, low harmonics in injected line side current (IEEE 519), widest range of operation, bidirectional power flow, and islanded operation [1]. A detailed methodology based on analytical characteristics of the PMSG-based WECS is developed to determine the critical steady state operating points and assess their feasibility in [4].

Naturally, the wind speed dynamic is inherently variable; consisting average value, gusts, noises and ramps. So, rotor speed must be updated with wind speed changes in order to get MPPT. There are two categories of MPPT methods; The first category named as ‘WT characteristics-based MPPT methods’ requires online wind and rotor speed measurement [5, 6]. As the turbine blades are large in diameter, the average wind speed through the blades is measured instead of the exact value, which reduces the MPPT accuracy. A Kalman filter could approximate the load and torque by measuring the rotor speed [5]. The drawback of this method is using linear approximation of the system which is completely nonlinear in reality [7]. The second category such as “extremum seeking” or “perturb and observe” are appropriate for WTs with small inertia [8, 9] in which the WT characteristics is not necessary [10].

In order to establish MPPT, the wind speed is measured by means of an anemometer installed at nacelle, which could not measure the accurate effective speed at the blades [6]. Essence of mechanical sensors for wind speed, rotor position and speed, and mechanical output torque is a limiting factor in most control and MPPT techniques. It is advantageous to have a controller independent of mechanical sensors which also follows reduction in costs and maintenance requirements of low-power wind turbines [11]. An observer-based controller would also be beneficial in the presence of mechanical sensors in order to improve the reliability of the WECS and enable the sensor fault detection [8], since the controller can get the information from either measurement or observation. Although the rotor speed and mechanical torque can easily be measured in practical applications, the observation for the two parameters can be used to increase the reliability of the control loops in the case of sensor failure as well as fault detection. The observer-based controller can switch to use the observed information, whenever a fault is detected from the mechanical sensors.

High frequency signal injection methods [12, 13] has been used to determines the rotor position in low speeds. The back electromotive forces of PMSG at very low wind speeds are insufficient to accurately observe the stator flux estimation. Moreover, the dead-time and forward voltage drops of the switching devices of the VSC substantially impact its performance accuracy at low wind speeds. Furthermore, nonlinear characteristics of the switching devices of the VSC deteriorate the precision of flux and torque estimation at very low wind speeds. Therefore, specific estimation methods are required at low speeds, such as high frequency signal injection [12, 13]. Nonetheless, this method is undesirable fallacious while operating in medium and high speed, in which observer-based estimation methods provide high precision. A changeover algorithm can be employed to switch between the estimation methods regarding the speed [13]. The excitation method in [14] detects the rotor position using stator currents and voltages with no signal injection. The induced stator voltage or back EMF is also used to observe the rotor position by Kalman filters in [15, 16] which is suitable for medium and high operating speed but not for low speeds with low back EMF. PLL is also used to determine the position and speed of the rotor in [17]. The impact of PLL dynamics on sub-synchronous interactions and stability of the grid-connected PMSG-based WECS with PI controllers was investigated using modal analysis in [18]. An observer based on quasi-sliding modes is used for estimation of rotor position and stator flux linkage in [19] with direct torque control through a proportional controller. Direct torque control scheme was also used along with space vector modulation to track the flux and torque references in [20]. In this scheme, the references were achieved through online optimization, and MPPT was established using an observer to calculate the reference electrical torque [20]. Sliding mode model-reference scheme was used for adaptive observation of the rotor speed with a fuzzy WECS controller [21]. The neural network model reference method requires an extensive data for offline training process of the neural network [22]. Therefore, wind speed estimation using artificial neural network with online training was investigated for MPPT [23]. Moreover, an adaptive nonlinear observer is developed in [24] which is appropriate for PMSG and does not have the problems mentioned above. The nonlinear adaptive observer in [24] can be used to estimate the rotor speed and flux as the system states and the load torque as a variable parameter, by measuring the stator currents and voltages at the stationary reference frame [25]. The output-feedback control of the direct-drive WECS using state-observer is developed by [26] to improve the performance and reduce the costs of the state-feedback control methods. The backstepping method is employed to design the nonlinear sampled controller based on a Lyapunov-Krasovskii candidate function. The practical implementation of the output-feedback nonlinear controller is discussed realizing the discrete-time sampled controller of the WECS [26].

Linear control methods are the most common schemes for the WECS such as the PI controllers [27-31], the fuzzy PID [32], and the self-tuned adaptive PI control [33]. Linear control schemes are fundamental to stability of WECS and requires detailed analysis for stability for connection of WECS to grid. PI control gains are tuned based on the stability and transient performance of the linearized model of WECS at the specified operating point, considering the desired bandwidth of the control loops. The instability caused by the intrinsic positive zero and pole in linearized transfer function of the VSC model is the key problem in designing linear controller for the PMSG-WECS, particularly when connected to a weak grid [34].

The PI and linear control schemes are designed based on the operating point of the WECS, in which the system is linearized. Thus, the performance of linear controllers is degraded in the presence of external disturbances and WECS parameter variations. Therefore, the PI [27-33] and linear controllers [19, 35, 36] provide limited robustness against large external disturbances and parameter uncertainties which are the foremost drawback of these controllers.

Intelligent and fuzzy methods employs extensive data gathering and experts’ knowledge to develop the WECS controller. Designing the intelligent controllers entails a general training data to extract the rules for a fuzzy control system or train an artificial neural network. Performance of the intelligent controllers [37-39] are impacted by the learning and training conditions, especially the training epochs.

Nonlinear controller design using the sliding mode technique [40, 41] provides improved robustness against parameter uncertainties of WECS. Moreover, the super-twisting sliding mode [41] reduces the negative impact of chattering using integral terms.

Although a faster convergence can be achieved by increasing the bandwidth of the control loops, utilizing a low-order linear controller limits the response characteristics of the control loops of the WECS, considering the stability margins (i.e. gains and phase margins) as a trade-off between the robustness and transient performance of the control loops of WECS. The linear and PI controllers [27-33, 35, 36], and the nonlinear Lyapunov [25] and sliding mode controllers [40, 41] result in asymptotic convergence of the state trajectories to the reference values.

Despite the nonlinear and linear controllers with asymptotic convergence, the finite-time control schemes yield finite-time stability. The finite-time controllers provide inherent advantages of fast transient responses, high steady state accuracy, and finite-time convergence of the system errors to the equilibrium. Utilizing finite-time controllers, the state trajectories converge to reference values in a predefined finite time, providing improved and fast transient performance as well as steady state accuracy, in comparison with conventional asymptotic convergent controllers (ACCs) and linear controllers. FTCs as nonlinear controllers realize improved robustness against disturbances and uncertainties [42].

In this paper, a robust finite-time control method for the PMSG-based WECS is proposed. The proposed nonlinear regulators of the machine side and the grid side converters are developed based on the back-stepping design technique and the control Lyapunov function method. The proposed controller provides advanced tracking performance considering the transient settling time and the steady state accuracy. Additionally, an adaptive observer is utilized for mechanical-sensorless MPPT and improving the reliability of WECS in case of sensor failures. The adaptive observer provides estimates of rotor speed, load torque, and the rotor flux. The multi-loop output-feedback FTC contains rotor speed, voltage, grid current, and power flow control loops. The objectives of the proposed FTC is to stabilize the system, to improve MPPT by lowering the transient convergence time in comparison with conventional ACCs, to improve the steady state performance in tracking ramp wind speeds, and to provide robustness against parameter changes and variation.

The remaining parts of the paper are organized as follows: Section 2 summarizes the sensorless MPPT technique. The PMSG-based WECS is modeled in Section 3. In section 4, the controller is designed using control Lyapunov function method and its finite-time convergence is mathematically proved. Robustness of the proposed FTC is discussed in section 5. The Adaptive state and parameter observer is introduced in Section 6. Simulation results are included in Section 7. Section 8 concludes the paper.

- Sensorless Maximum Power Point Tracking

In a variable speed PMSG-based WECS, an optimum rotor speed reference tracking could lead to MPPT. An optimization system is assumed to calculate the optimum rotor speed in order to deliver the maximum power that could be captured from the WECS. The optimum speed-power curve MPPT technique [25] is utilized and improved by the proposed robust FTC. The captured power from a WT is:

where , , ,  and  are wind power, wind speed, swept area of the turbine blades, air density, and the power coefficient, respectively; is the power coefficient and a function of the tip speed ratio (i.e. ) which is defined as ; is the blade radius, and  is the rotor speed.

Figure 1 illustrates a typical PMSG characteristic which is also used in the simulation section. The extractable power is shown versus the rotor speed for different wind speeds. Each diagram for a constant wind speed has a peak value in which the pair are relevant. These peak values are estimated through an interpolation of a polynomial which is projected as

where  is the optimal rotor speed;  is the maximum available power; and  are real constants.

Fig. 1.WT characteristics for different speeds and MPPs.

The Fig. 2 summarizes the algorithm of the presented MPPT technique using optimum speed-power curve  [25].

Fig. 2. MPPT flowchart

In order to discuss the impact of FTC in performance of the employed MPPT method in comparison with conventional ACCs, consider the transient settling time of the speed regulation control loop in Fig. 2. Although, the convergence time () is theoretically infinitive for exponentially convergent systems [25], the settling time with a 5% criteria is practically defined as the minimum required time for the output to enter and remain in the region of 95%-105% of its final value. Hence, for exponential convergence,  is calculated as (i.e ) where  is the initial value and  is the time constant of the system. As MPPT algorithm is iterated to reach the optimum speed for  times, the minimum required time would be . Nonetheless, the infinite convergence time would be reduced to a finite time using the proposed FTC. Clearly, with small settling time (i.e. ) the minimum required time for the MPPT is decreased and the maximum power point is reached faster which is illustrated in the following sections. This also lessens the lost power during MPPT transient.

- PMSG-based WECS Modeling

The WT with PMSG is connected to the grid with an AC/DC/AC converter in order to achieve MPPT, soft start-up, unity power factor in grid side and bidirectional current flow mode.

The whole system is modeled in state space form in dq reference frame with rotor position as  including WT, PMSG and the VSCs [35]. Since there is no gearbox and the coupling is direct, generator mechanical output torque is equal to the turbine shaft torque.

where the superscripts d and q denote the direct and quadrature axis components of the variable;  is the rotational rotor speed;  are the q- and d-axis currents of the stator; are the d- and q-axis currents of the VSC2; and  is the dc link voltage;  is the output dc current of VSC1 shown in Fig. 3;  and  are the stator q- and d-axis voltages of stator;  is the rotor inertia,  is the viscous coefficient,  is the number of pole pairs,  is the flux constant,  is the rotor flux, , , and  are the turbine mechanical power, torque and rotational speed, respectively;  and  are the stator resistance and inductance;  is the capacity of the DC link;  is the output filter inductance;  and  are the d- and q-axis components of the PCC voltage;  is the grid voltage frequency.  and  are the state variable and input vectors; ;  are the average 3-phase duty ratio of the VSCs in dq reference frame; the bar accent (i.e. ) denotes the average value on the modulation period; and,

- Finite time Controller Design via control Lyapunov function

The WECS including a synchronous permanent magnet aero-generator, the proposed FTC with the nonlinear adaptive observer and the regulating loops are depicted in Fig. 3. The function and explanations of each block are presented in the following sections. The ac side of the machine-side converter (VSC1) is connected to the PMSG and controls the rotor speed for MPPT. The reference rotor speed is calculated through the optimal speed-power curve of the MPPT algorithm. Besides, the ac side of grid-side converter (VSC2) is connected to the grid and regulates the dc link voltage by injecting the captured extra power from the PMSG into the grid. VSC2 can also be used to control the injected reactive power for unity power factor and to regulate the grid voltage magnitude in the case of connecting to a weak grid with a low short circuit ratio in which the grid voltage varies with the fluctuation of the injected power.

Fig.3. The proposed control diagram for a PMSG-based low-power wind energy conversion system

In the following the necessary definitions and lemmas for finite-time stability analysis and design based on control Lyapunov function method are presented. Next, the controller is designed through step-by-step application of the Lyapunov method and backstepping design technique. Throughout the paper, all derivatives are taken with respect to time, so the term ‘derivative’ is used entirely for simplicity.

  - Definitions and preliminaries

Definition 1. Presume  is a continuous function  and .

Equilibrium of  is locally stable in a finite-time if for  there exist a  such that:

The equilibrium is globally finite-time stable, if  and  is radially unbounded (i.e. as).

Lemma 1. [43]. Suppose  is a Lyapunov function and define  to be real constants. The equilibrium of  is stable in finite time if satisfies .

Based on initial value of the Lyapunov function , the settling time is calculated as:

Lemma 2. The following inequality holds for real values of  and .

  - Finite time controller for rotor speed regulation

The error dynamics for the reference rotor speed tracking is defined as  where is the reference value of  and is obtained from the MPPT algorithm. Its derivative is calculated as:

where  is defined as the virtual controller. Since there is no actual control law acting on , the control law  is related to  through, using the back-stepping design technique and the virtual controller .

The virtual control law  is designed as  to control the rotor speed using the q-axis current of stator (i.e. ) in a finite time.

Then, the rotor speed error undergoes the dynamics of  by substituting the virtual control law  to . Finite-time stability of  would be proved later in this section.

Since  is a virtual control law, there would be an error between  and  during the transients, which is defined as the error . The error dynamic  is calculated as  at the steady state, when . Consequently,  and  are written as  for.

Based on  and the PMSG system dynamics , the derivative of  is calculated as:

where .

Regarding Lemma 1 and Lemma 2, the control law  is designed as  for Lyapunov stability of the rotor speed loop, with finite-time convergence. The finite-time stability would be proved later in this section.

where  are real control gain constants.

Direct axis stator current reference is considered to be zero (i.e. ), and thus the error dynamic of  is:

Similarly, the control law  is designed as  for Lyapunov stability of the d-axis current speed loop, with finite-time convergence.

where  are real control gain constants.

Statement 1.The WECS of  with the proposed controllers of  and  are finite-time stable.

Proof: Assume a Lyapunov function candidate . Substituting ,  and  in time-derivative of the Lyapunov function  yields:

Introducing  and  to , we obtain  with some simple calculations.

From Lemma 2, with  and , we have:

From Lemma 1 and  the Lyapunov based stability and finite-time convergence properties of the closed-loop system with suggested controllers are proved. The convergence time of the closed-loop system with proposed controller is calculated as . Thus the proof is complete.

Since the control Lyapunov function  is designed based on  to satisfy Lemma 1 for  and , it is required that the controller excites the system for . Therefore, the discontinuous sign function is defined as  for  and . Accordingly, it is supposed that the time-derivative of the sign function  is zero for  in calculating .

  - Finite time controller for dc Link voltage and reactive power regulator

The reactive power reference value  is selected to be zero not to influence the grid voltage magnitude with respect to IEEE Standard 1547. Nonetheless, in a weak grid with a low short circuit ratio, the PCC voltage is vulnerable to power flow variations. Therefore, the output reactive power can be utilized to regulate the PCC voltage magnitude in such cases. Besides, the dc link voltage reference is a constant value.

Since the FTC design for dc link voltage and delivered reactive power to the grid are in the same way as the approach introduced in sections 4.2, the following design approach is summarized for briefness.

The error dynamics of dc link voltage () with the virtual controller is defined as

where , and

The virtual controller is then designed as  using the backstepping approach.

The virtual control regulation error is defined as , and its derivative is calculated as:

where ,  and  are calculated as ,  and , respectively.

The delivered reactive power to the grid is. The time-derivative of the reactive power regulation error is then calculated as:

where and is defined as

Statement 2: The system - is finite-time stable with the designed FTCs -.

Proof: Consider a Lyapunov function . Substituting - into  gives:

Introducing  and  into , yields:

Clearly  could be written as  with respect to Lemma 2.

From Lemma 1 , and  the Lyapunov stability and finite-time convergence of the closed-loop system with proposed FTCs are concluded. Thus the proof is complete. 						           ■

  - Global stability of the proposed FTCs

It is shown that the overall system of WT combined with PMSG and the power electronic converter could be separated into two subsystem with relative interconnection. Finite-time stability of each subsystem have been proved independently. At the moment, the global Lyapunov function candidate is defined as  to prove the stability of the WECS in the sense of Lyapunov. Taking the derivative of we conclude from  and  that:

where .

Remark 1: Equation  confirms that convergence time () is proportionally related to. Consequently, a large value of , brings about a shorter . Conversely, from control inputs’ equations, it is seen that  directly effects magnitude of . The parameter should be selected by designer’s consideration to lessen convergence time and control inputs magnitude. Consider that although the large values of  result in higher consumed control energy, the different choices of the magnitude of  does not affect the finite-time stability.

The control loops of the proposed FTC scheme are illustrated in Fig. 4, in which the blocks are the controllers designed as , , (16), ,  and , respectively.

Fig. 4. Control loops scheme of the machine side and grid-side converters of the WECS

- Controller improvement against uncertainty and chattering

  - Robustness against bounded uncertainty and external disturbances

Uncertainties and disturbances, which are not involved in the model of the system under study, are inevitable. These uncertainties include modeling error, mechanical vibration, faults, variations of WECS parameters, time dependency of the parameters, and external disturbances. Accordingly, robustness against uncertainty is reasonably significant in practice. Robustness of the closed-loop WECS with the proposed controller is proved in the following.

Suppose an uncertain parameter (i.e. ) consists of a nominal part () and a variation () which is the portion of its nominal value as  in which  is a real number.:

Thus the perturbed WECS with parameter uncertainties and external disturbances are separated into a nominal part and a disturbed part [44] as in . Nominal part of the error dynamics are calculated as - and -.

In the following, the disturbed part of the first error dynamic  is calculated for instance as the approach is similar for the other errors .

where , , ,  are the perturbed WECS state dynamic, perturbed error dynamic, the nominal error dynamic as , and the external disturbance, respectively. With some simple calculations and considering , the perturbation is calculated as  based on the cumulative sum of the external disturbances () and the effect of the parameter changes ().

Generally, the above mentioned uncertainties could be considered as a time dependent function of system parameters, error dynamics, and external disturbances as explained in the following equation .

Assume the uncertainty is norm-bounded as  which appropriately represent a real situation [44]. Since the rate of change and variation of the system parameters () are slow compared to the fast dynamics of the system, and as disturbances are commonly constant values in a specific period of study time, the overall uncertainty  is assumed to be constant () and bounded. Two different boundaries could be selected for the bounded uncertainty as  and  where are known positive constants, which could be calculated from  and is not included here for brevity (e.g. as a worse case; for 20% increase in , , and , and 20% decrease in  we have ).

The error dynamics of the perturbed WECS can be separated into a nominal part ( ) and a perturbed part () [44] similar to  and  which is presented by:

where the nominal part  is identical to the - and -, and the perturbed part aggregates the effect of the uncertainty and the disturbances similar to . The perturbed error  are measured or observed online and are available. Note  are unknown terms.

To prove the stability of the perturbed WECS enhanced with the proposed FTC, consider a Lyapunov function . Taking the time derivative of the Lyapunov function considering  yields:

As the exact values of are not available, this term cannot be used in the proposed controller. However, from  and , we can write  as:

Considering the norm-bounded real perturbation (i.e. ) and the fact that , we have:

With constraints on the control gains designed as , we conclude:

where

From Lemma 1, the finite-time stability is obtained according to . As a result, the mathematical proof of robustness of the proposed controller is completed and will also be examined through simulation results.	           ■

Consider also that designing the FTC based on the boundary of type  allows us to use high gain values for  and avoid lowering the system’s performance, since the related high-gain robust terms in the controller vanishes by approaching the errors to the origin with respect to  and the FTC , , , and .

  - Continuous controller with elimination of chattering

FTCs are usually designed using the discontinuous terms in the control law [45] which may give rise to the problem of chattering phenomena in a perturbed system with uncertainties and disturbances. There have been some solutions to eliminate the chattering, such as high order and super-twisting sliding mode control, and continuous approximation of the discontinuous functions [44]. Presence of a discontinuous function as  in the controller, give rise to the problem of chattering phenomena especially in a perturbed WECS with disturbance. Chattering is undesirable in real practice and mechanical systems.

In this paper, the sign function is approximated by a continuous function  defined as  in order to eliminate the discontinuity and avoid chattering. This approach is simple to design and efficient compared to other methods.

where  is the argument of the sign function and  is a designer-defined real constant.

- System state and parameter estimation with adaptive Observation

The proposed FTC is based on the dq reference frame model of the WT and PMSG. The dq transformation of the utilized model is based on rotor position. It is supposed that the rotor position is not available since it needs mechanical sensor. Because of this, the PMSG model in the  frame is presently used which does not need the rotor position for modeling and controller designs. The PMSG model in the  stationary coordinates in matrix form is [46]:

where the state matrices and state variable vectors are:

In ,  are the stator voltages in  stationary coordinates,  denote the stator currents, and  are rotor fluxes.

Consider that the system states of  and  could be transformed into each other by  and transformation. An adaptive observer is represented to estimate the WECS mechanical state , the parameter, and the states ,  by merely measuring the rotor currents . The controllers are already designed and are available. Therefore, are measured by current sensors and the other system states are estimated by the observer. Also, it is assumed that the unknown  has slow change rate in comparison with the system dynamics (i.e. ) [24].

The parameters in subsystem are known constant values and thus a Kalman-like observer for state affine systems is sufficient to estimate the desired state variable (i.e. ). However, the mechanical torque in subsystem  is not a system state. Therefore, the common system state observers could not estimate  and thus the observer for the subsystem  must be adaptive.

Suppose the original state vector  defined in -, and the system extended with the unknown parameter vector as . It is shown in [24] that the adaptive design for the original system is equivalent to the usual Kalman design for the extended system, choosing a time-varying adaptive gain. A direct Kalman or Kalman-like design can alternatively be considered for the extended system. The equivalence of two designs is concluded, when the adaptation law of the adaptive observer is chosen as in a Kalman design. The observer for subsystems  is presented as [24]:

and the adaptive laws are designed as:

where are constant real gains; and

,

The stability of the observers (i.e.  and ) could be proved with Lyapunov stability criterion based on the Lyapunov function of  with  [24].

Applying the designed features of proposed robustness , chattering elimination , and system state observer and adaptive load torque estimation - to the proposed FTC , results in:

The same variations would be applied to ,  and .

- Numerical Simulation

The WT, PMSG, VSCs, and the control loops of Fig. 3 and Fig. 4 are simulated in Matlab®/Simulink R2017a using the Simscape toolbox blocks. The ODE4 is selected with type of fixed step as the solver. Matrix operations of the DSP system toolbox are exploited to evaluate the presented adaptive observer using matrix calculations. The switching frequency is 1350 Hz, and the sampling time is 1 μs.

Five cases are studied to analyze the proposed FTC performance as:

- Transient performance of the proposed FTC is compared to conventional ACC in nominal WECS.

- Robustness of the FTC and ACC are evaluated against 10% parameter uncertainty.

- Steady state performances of the FTC and ACC are assessed for ramp changes in wind speed.

- MPPT performance of the proposed FTC is examined for a variable wind speed with nominal and perturbed WECS

- Performance of the adaptive observer is examined for a step change in wind.

The proposed robust FTC is compared to the conventional ACC [25]. The conventional ACC can easily be achieved by setting  in the proposed FTCs. For a polynomial approximation of degree 4 with the data presented in Fig. 1, the optimum speed-power curve is estimated by the polynomial  with coefficients in Table 2. Numerical values of the WECS parameters, the MPPT polynomial coefficients, the controller gains, and the FTC and observer gains are given in Tables 1-4, respectively. The nominal rotor speed is 21.74 (rad/s); the nominal power of WECS is 30 (kW); the rated and the cut-in wind speeds are 12.36 (m/s) and 3.1 (m/s), respectively. The base power is 30 (kW) and the base rotor speed is 21.74 (rad/s). Initial values of the matrices, and  in  are selected to be the unity matrix ().

Table 1. Parameters of WECS model

| Parameter | Value |
| --- | --- |
|  | 8.22 Nm/rd/s2 |
|  | 1.417 Nm/rd/s |
|  | 4 |
|  | 4.2915 |
|  | 0.3 Ω |
|  | 17.5 mH |
|  | 2×47 mF |
|  | 380 V |
|  | 10 mH |
|  | Hz |

Table 2.Coefficients of the 4-degree polynomial to estimate the optimal rotor speed for MPPT;

|  | 4 | 3 | 2 | 1 | 0 |
| --- | --- | --- | --- | --- | --- |
|  | -0.0248 | 2.3708 | -53.50 | 591 | -2197 |

Table 3. Control gains of the proposed FTC

| Gain |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| value | 10 | 30 | 30 | 10 | 30 | 30 | 5 |  |

Table 4. Observer and FTC gains for nominal system

| Parameter |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| value | 2 | 10 | 100 | 100 | 100 |

An L-type filter is used at the output of the grid-side VSC. The inductor size has direct impact on the output current ripple, and switching and conduction losses. The larger the inductor size, the lower the current ripple and the lower the switching losses, but the larger coil and core losses. The output filter inductance is designed considering the PWM-VSC current ripple as [47]:

where  and  are the switching frequency and the output current ripple, respectively; and the coefficient 8 is derived based on the modulation index and the PWM method [47]. Typically, the current ripple is chosen proportional to the rated current (i.e. 15%-25%). Therefore, the minimum required filter inductance to achieve a maximum current ripple of 15%, is calculated as .

  - Case 1; transient performance with nominal WECS

Transient performance of the proposed FTC is compared to the conventional nonlinear ACC in Fig. 5, or a step change in the wind speed. Although the step change is not common in a realistic wind profile, it is a fundamental method to assess the performance of controller schemes. The settling time is noticeably shortened using the proposed FTC scheme. The transient of rotor speed is shown in Fig. 5 (a) which illustrates the fast response of the proposed FTC. The settling time with 5% criterion are 135 (ms) and 350 (ms) using the proposed FTC and the conventional ACC, respectively. The minimum theoretical settling time is calculated for the rotor speed tracking error using  as (ms) at t=2 (s). Clearly, the settling time using the proposed FTC satisfies the inequality  (i.e. 135 < 772).

(a)

(b)

Fig. 5. Performance of the proposed FTC compared to conventional ACC for a step change in wind speed

  - Case 2; robustness evaluation against parameter uncertainties

Performance of the proposed FTC is evaluated for the nominal WECS in Fig. 5. In the following the improved performance of the proposed FTC is evaluated by a +10% perturbation in the system parameters. The parameters are changed to 110% of their nominal values. The controller uses the nominal values (i.e. 100% of the values given in Table 1) whereas the system parameters are perturbed by 10% of their nominal value (i.e. 110% of the values given in Table 1). Simulation results of the perturbed WECS for the step change in wind speed are illustrated in Fig. 6 to evaluate the robustness of the proposed FTC. The rotor speed and the dc link voltage are presented in Fig 6, for briefness. Although the proposed FTC and the conventional ACC provide exact steady state tracking of the reference values in a nominal system (shown in Fig. 5), the conventional ACC has a substantially poor performance in tracking the reference values in the perturbed WECS, compared to the proposed FTC  illustrated by Fig. 6. Robustness of the proposed FTC against the changes in system parameters is one of the its main advantages in comparison to the conventional ACC. Results show that the convergence time for rotor speed and the dc link voltage in the presence of uncertainties is still a finite time with the proposed FTC.

(a)

(b)

Fig. 6. Simulation results for the perturbed WECS with 10% parameter uncertainty; (a) rotor speed, (b) dc link voltage

  - Case 3; robustness evaluation and steady state performance for ramp change in the wind speed

In this subsection, performance and of the proposed FTC and the conventional ACC are evaluated for the ramp reference in the wind speed, considering both the nominal and the perturbed WECS. The perturbed WECS is modeled by +10% variation in the system parameters as described in case 2. Simulation results of the nominal and the perturbed WECS for the ramp change in wind speed are illustrated in Fig. 7 to evaluate the robustness of the proposed FTC. The rotor speed, stator q-axis current, and the dc link voltage are presented, for briefness. The stator d-axis current and the output reactive power are set to zero, accurately.

As shown in Fig. 7 (a) for the nominal WECS, the proposed FTC provides zero steady state error for the ramp reference. However, the conventional ACC fails to eliminate the steady state error in the nominal WECS although the error magnitude is low. For the perturbed WECS, the tracking error is unacceptably large using the conventional ACC, whereas the proposed FTC yields enhanced tracking of the ramp reference resulting in a tiny error magnitude, as depicted in Fig. 7 (a).  The resulting q-axis current of the stator is shown in Fig. 7 (b).

However, the variation in the dc link voltage magnitude is tightly kept in the practical range as shown in Fig. 7 (c), and the error is insignificant using the conventional ACC as well as the proposed FTC, since perturbation is applied to the parameters of the PMSG and the machine side converter (i.e. VSC1).

The ramp changes in the wind speed are very common. The performance of the MPPT scheme would significantly be deprived if the WECS fails to exactly track the ramp references. Improved tracking of the ramp references using the proposed FTC, its robustness against parameter uncertainties, and fast transient response are its key advantages in comparison to the conventional ACC.

(a)

(b)

(c)

Fig.7. Simulation results for the ramp wind reference with nominal and perturbed WECS; (a) rotor speed, (b) stator q-axis current, (c) dc link voltage

  - Case 4; MPPT of a variable speed wind profile: FTC

The controller performances are assessed with a time varying wind speed as depicted in Fig. 8 (a) [20]. The sample wind speed profile is created with 4 inherent dynamics of wind: average value, ramp, gusts, and noise. The consequent wind turbine torque is shown in Fig. 8 (b).

(a)

(b)

Fig. 8. Wind speed sample profile and the wind turbine torque

Simulation results are represented for Scenario 1 with the proposed FTC in Figs. 9-11. The rotor speed and the q-axis current of PMSG rotor are depicted in Fig. 9. Figure 9 (a) illustrates the MPPT capability of the proposed WECS control scheme, to extract the maximum available power from a variable wind source. The rotor d-axis current is exactly set to its reference (i.e. ) which is not shown for briefness. The d-axis current of VSC2 at the PCC, and the dc link voltage are shown in Fig. 10. Although a finite-time controller with a fast transient is utilized, the state variables are kept within the practical range without any saturation during the transients. Advanced regulation of the dc link voltage shown in Fig 10 (b) denotes the precise operation of the proposed FTC for VSC2. The d- and q-axis currents of VSC2 are employed to control the active and reactive powers at the PCC, respectively.

(a)

(b)

Fig. 9. State trajectories of the VSC1 controlled with the proposed FTC; (a) Rotor speed, (b) Rotor q-axis current.

(a)

(b)

Fig. 10. State trajectories of the VSC2 controlled with the proposed FTC; (a) PCC d-axis current, (b) DC link voltage.

The harvested wind power is injected to the grid through VSC2. The reactive power at PCC is set to zero (i.e. ) to minimize the impact of WECS on grid voltage. Regulation of the active and reactive powers at the PCC using the proposed FTC are shown in Fig. 11. The active power delivered to the grid is altered to regulate the dc link voltage and deliver the extracted wind power from the wind turbine to the grid. The PCC reactive power is set to its reference decoupling the active and reactive power outputs.

(a)

(b)

Fig. 11. Injected power at the PCC; (a) active power (b) reactive power

The modulation indices for VSC1 and VSC2 in dq reference frame (i.e. ) are shown in Fig. 12. The control outputs are in the feasible practical range and the chattering is eliminated in the proposed FTC.

Fig. 12. Controller output in dq reference frame; modulation indices for VSCs.

The average extracted power using the proposed FTC and the conventional ACC are listed in Table 5. The maximum available wind power is 8.3209 (kW). Results show that FTC extracts much power compared to conventional ACC and improves the MPPT algorithm by accurate and finite-time convergence to the reference speed, particularly during ramp changes as approved in previous subsections. The average extracted power is improved utilizing the proposed FTC by 0.0116 (kW) and 0.231 (kW) for the nominal and the perturbed WEC, respectively, in comparison with the conventional ACC. It is achieved due to robustness and higher accuracy of the proposed FTC in tracking the ramp references, and fast transients with lower settling time.

Table 5. Comparison of the mean extracted wind power; the proposed FTC vs. the conventional ACC

|  | Mean Extracted Wind Power (kW) |  |
| --- | --- | --- |
| WECS | Nominal | Perturbed |
| FTC | 8.1450 | 7.9165 |
| ACC | 8.0290 | 7.6850 |

  - Case 5; Performance of the adaptive observer

In this section, performance of the adaptive observer with the proposed FTC is evaluated for a step change in the wind speed. Although the step change is not common in a realistic wind profile, it is a fundamental method to assess the performance of controller schemes. Estimation of the rotor speed and load torque through the adaptive nonlinear observer are given in Fig. 13. Simulation results show that the observed states are accurately following the real measured values in a small acceptable time. The observer is tuned to estimate the rotor speed in a significantly small settling time for stable operation of the controller. In addition, it is not beneficial to provide an exact observation of the transient overshoot in turbine torque. Therefore, a smooth response with a rather larger settling time is chosen, to avoid the transient overshoots.

(a)

(b)

Fig. 13. Observed states vs. measured values using the proposed FTC for a step change in wind speed with the perturbed WECS; (a) rotor speed, (b) wind turbine torque.

  - Quality of injected power

In addition to MPPT, the quality of the power delivered to the grid at the PCC is indispensably important in connecting WECSs to grid. Total harmonic distortion (THD) of the injected current at the PCC is a key measure to assess the delivered power quality, which is impacted chiefly by the output filter parameters. The quality of output voltage of VSC depends on number of the voltage levels developed by the grid-side converter and the switching method in addition to the output filter parameters. Commonly, the THD of the voltage developed by a multilevel VSC is lower than THD of the voltage developed by a three-level VSC as well as a two-level VSC. The THD value of the output current is 0.95% as shown in Fig. 14. The THD value of the output current with a two-level converter is 5.08%.

Fig.14. FFT analysis of the output current during the step change in wind speed.

- Conclusion

This paper addressed the recent studies in connecting a PMSG-based WECS to the grid and designed a novel robust finite-time controller (FTC) based on control Lyapunov function method. The proposed FTC improves the speed-tracking transient performance and the robustness of the low-power WECS. Using the designed FTC, the error trajectories of the WECS converge to zero in a short pre-known finite time in comparison with the conventional ACCs with asymptotic convergence. The proposed FTC improves the WECS performance for tracking of ramp references and robustness against parameter uncertainties Moreover, an adaptive observer is utilized in the WECS controller, to estimate the rotor speed, stator flux magnitudes, and the mechanical torque. Employment of the adaptive nonlinear Kalman-like observer provide an output-feedback mechanical-sensorless control scheme. Furthermore, maximum power point tracking is achieved without using wind speed sensor. The proposed FTC is design based on control Lyapunov function method and its finite-time stability and robustness are proved using Lyapunov stability theorem. Likewise, the simulation results show that the finite-time characteristic of the designed controller has made it superior to conventional ACC from different points of few, such as robustness against parameter uncertainty, steady state tracking performance, and the transient settling time.

References

[1]	W. Kramer, S. Chakraborty, B. Kroposki, and H. Thomas, "Advanced Power Electronic Interfaces for Distributed Energy Systems,"  TP-581-42672, 2008.

[2]	G. F. I. Colak, S. Bayhan, S. Chondrogiannis, S. Demirbas, "Critical aspects of wind energy systems in smart grid applications," Renewable and Sustainable Energy Reviews, vol. 52, pp. 155-171, 2015.

[3]	F. Blaabjerg, Z. Chen, and S. B. Kjaer, "Power Electronics as Efficient Interface in Dispersed Power Generation Systems," IEEE Trans. Power Electron., vol. 19, pp. 1184-1194, 2004.

[4]	A. Bonfiglio, F. Delfino, F. Gonzalez-Longatt, and R. Procopio, "Steady-state assessments of PMSGs in wind generating units," International Journal of Electrical Power and Energy Systems, vol. 90, pp. 87–93, 2017.

[5]	T. Senjyu, Y. Ochi, Y. Kikunaga, M. Tokudome, A. Yona, E. B. Muhando, et al., "Sensorless maximum power point tracking control for wind generation system with squirrel cage induction generator," Renewable Energy, vol. 34, pp. 994-999, 2009.

[6]	D. Jena and S. Rajendran, "A review of estimation of effective wind speed based control of wind turbines," Renewable and Sustainable Energy Reviews, vol. 43, pp. 1046-1062, 2015.

[7]	R. Rocha, "A sensorless control for a variable speed wind turbine operating at partial load," Renewable Energy, pp. 1-10, 2010.

[8]	Y. Daili, J.-P. Gaubert, and L. Rahmani, "Implementation of a new maximum power point tracking control strategy for small wind energy conversion systems without mechanical sensors," Energy Conversion and Management, vol. 97, pp. 298-306, 2015.

[9]	I. Kortabarria, J. Andreu, I. M. d. Alegría, J. Jiménez, J. I. Gárate, and E. Robles, "A novel adaptative maximum power point tracking algorithm for small wind turbines," Renewable Energy, vol. 63, pp. 785–796, 2014.

[10]	Y. Xia, K. H. Ahmed, and B. W. Williams, "Wind turbine power coefficient analysis of a new maximum power point tracking technique," IEEE Trans. Ind. Electron., vol. 60, pp. 1122-1132, 2013.

[11]	K. Tan and S. Islam, "Optimum control strategies in energy conversion of PMSG wind turbine system without mechanical sensors," IEEE Trans. Energy Convers., vol. 19, pp. 392-399, 2008.

[12]	J. Yu-seok, R. D. Lorenz, T. M. Jahns, and S. Seung-Ki, "Initial rotor position estimation of an interior permanent-magnet synchronous machine using carrier frequency injection methods," IEEE Trans. Ind. Appl., vol. 41, pp. 38-45, 2005.

[13]	G. Foo, S. Sayeef, and M. F. Rahman, "Low-Speed and Standstill Operation of a Sensorless Direct Torque and Flux Controlled IPM Synchronous Motor Drive," IEEE Trans. Energy Convers., vol. 25, pp. 25-33, 2010.

[14]	S. Bolognani, R. Oboe, and M. Zigliotto, "Sensorless full-digital PMSM drive with EKF estimation of speed and rotor position," IEEE Trans. Ind. Electron., vol. 46, pp. 184-191, 1999.

[15]	M. N. Eskander, O. M. Arafa, and O. A. Mahgoub, "Sensorless Control of PMSM and BDCM Based On EMF Extraction And Extended Kalman Estimator," IEEE International Symposium on Industrial Electronics, vol. 3, pp. 2168-2175, 2006.

[16]	G. Rigatos, P. Siano, and N. Zervos, "Sensorless Control of Distributed Power Generators With the Derivative-Free Nonlinear Kalman Filter," Industrial Electronics, IEEE Transactions on, vol. 61, pp. 6369-6382, 2014.

[17]	M. Fatu, F. Blaabjerg, and I. Boldea, "Grid to Standalone Transition Motion-Sensorless Dual-Inverter Control of PMSG With Asymmetrical Grid Voltage Sags and Harmonics Filtering," IEEE Transactions on Power Electronics, vol. 29, pp. 3463-3472, 2014.

[18]	W. Du, X. Wang, and H. Wang, "Sub-synchronous interactions caused by the PLL in the grid-connected PMSG for the wind power generation," International Journal of Electrical Power and Energy Systems, vol. 98, pp. 331-341, 2018.

[19]	Z. Zhang, Y. Zhao, W. Qiao, and L. Qu, "A Space-Vector-Modulated Sensorless Direct-Torque Control for Direct-Drive PMSG Wind Turbines," IEEE Transactions on Industry Applications, vol. 50, pp. 2331-2341, 2014.

[20]	A. Shafiei, B. M. Dehkordi, A. Kiyoumarsi, and S. Farhangi, "A Control Approach for a Small-Scale PMSG-Based WECS in the Whole Wind Speed Range," IEEE Trans. Power Electron., vol. 32, pp. 9117-9130, 2017.

[21]	J. Yan, H. Lin, Y. Feng, X. Guo, Y. Huang, and Z. Q. Zhu, "Improved sliding mode model reference adaptive system speed observer for fuzzy control of direct-drive permanent magnet synchronous generator wind power generation system," IET Renewable Power Generation, vol. 7, pp. 28-35, 2013.

[22]	J. Brahmi, L. Krichen, and A. Ouali, "A comparative study between three sensorless control strategies for PMSG in wind energy conversion system," Applied Energy, vol. 86, pp. 1565-1573, 2009.

[23]	F. Jaramillo-Lopez, G. Kenne, and F. Lamnabhi-Lagarrigue, "A novel online training neural network-based algorithm for wind speed estimation and adaptive control of PMSG wind turbine system for maximum power extraction " Renewable Energy, vol. 86, pp. 38-48, 2016.

[24]	G. Besancon, J. D. Leon-Morales, and O. Huerta-Guevara, "On adaptive observers for state affine systems," International Journal of Control, vol. 79, pp. 581-591, 2006.

[25]	A. E. Magri, F. Giri, G. Besancon, A. E. Fadili, L.Dugard, and F.Z.Chaoui, "Sensorless adaptive output feedback control of wind energy systems with PMS generators," Control Eng. Pract., vol. 21, pp. 530–543, 2013.

[26]	A. A. R. A. Tahir, "Semi-global output feedback nonlinear stabilization of variable speed grid connected direct drive wind turbine generator systems," Int. J. Dynam. Control, 2016.

[27]	H. Geng and D. Xu, "Stability Analysis and Improvements for Variable-Speed Multipole Permanent Magnet Synchronous Generator-Based Wind Energy Conversion System," IEEE Trans. Sustain. Energy, vol. 2, pp. 459-467, 2011.

[28]	M. E. Haque, M. Negnevitsky, and M. K.M., "A Novel Control Strategy for a Variable-Speed Wind Turbine with a Permanent-Magnet Synchronous Generator," IEEE Trans. Ind. Appl., vol. 46, pp. 331-339, 2010.

[29]	H. Geng, G. Yang, D. Xu, and B. Wu, "Unified Power Control for PMSG-Based WECS Operating Under Different Grid Conditions," IEEE Transactions on Energy Conversion, vol. 26, pp. 822-830, 2011.

[30]	S. Debnath and M. Saeedifard, "A new hybrid modular multilevel converter for grid connection of large wind turbines," IEEE Transactions on Sustainable Energy, vol. 4, pp. 1051-1064, 2013.

[31]	A. Dahbi, M. Hachemi, N. Nait-Said, and M.-S. Nait-Said, "Realization and control of a wind turbine connected to the grid by using PMSG," Energy Conversion and Management, vol. 84, pp. 346–353, 2014.

[32]	S. Li, T. A. Haskew, and L. Xu, "Conventional and novel control designs for direct driven PMSG wind turbines," Electric Power Systems Research, vol. 80, pp. 328-338, 2010.

[33]	E. Giraldo and A. Garces, "An Adaptive Control Strategy for a Wind Energy Conversion System Based on PWM-CSC and PMSG," Power Systems, IEEE Transactions on, vol. 29, pp. 1446-1453, 2014.

[34]	X. Yuan, F. Wang, D. Boroyevich, Y. Li, and R. Burgos, "DC-link voltage control of a full power converter for wind generator operating in weak-grid systems," IEEE Transactions on Power Electronics, vol. 24, pp. 2178-2192, 2009.

[35]	C. N. Bhende, S. Mishra, and S. G. Malla, "Permanent Magnet Synchronous Generator-Based Standalone Wind Energy Supply System," IEEE Trans. Sustain. Energy, vol. 2, pp. 361-373, 2011.

[36]	M. Popat, B. Wu, and N. R. Zargari, "Fault Ride-Through Capability of Cascaded Current-Source Converter-Based Offshore Wind Farm," IEEE Trans. Sustain. Energy, vol. 4, pp. 314-323, 2013.

[37]	W. M. Lin, C. M. Hong, T. C. Ou, and T. M. Chiu, "Hybrid intelligent control of PMSG wind generation system using pitch angle control with RBFN," Energy Convers. Manage., vol. 52, pp. 1244-1251, 2011.

[38]	C. M. Hong, C. H. Chen, and C. S. Tu, "Maximum power point tracking-based control algorithm for PMSG wind generation system without mechanical sensors," Energy Convers. Manage., vol. 69, pp. 58-67, 2013.

[39]	A. Medjber, A. Guessoum, H. Belmili, and A. Mellit, "New neural network and fuzzy logic controllers to monitor maximum power for wind energy conversion system," Energy, vol. 106, pp. 137-146, 2016.

[40]	S. M. Mozayan, M. Saad, H. Vahedi, H. Fortin-Blanchette, and M. Soltani, "Sliding Mode Control of PMSG Wind Turbine Based on Enhanced Exponential Reaching Law," IEEE Transactions on Industrial Electronics, vol. 63, pp. 6148-6159, 2016.

[41]	C. Evangelista, P. Puleston, F. Valenciaga, and L. M. Fridman, "Lyapunov-Designed Super-Twisting Sliding Mode Control for Wind Energy Conversion Optimization," IEEE Trans. Ind. Electron., vol. 60, pp. 538-545, 2013.

[42]	B. Jain, S. Jain, and R. K. Nema, "Control strategies of grid interfaced wind energy conversion system: An overview," Renewable and Sustainable Energy Reviews, vol. 47, pp. 983-996, 2015.

[43]	Y. Orlov, C. Edwards, E. F. Colet, and L. Fridman, Advances in variable structure and sliding mode control. Berlin, Heidelberg, New York: Springer, 2006.

[44]	H. K. Khalil, Nonlinear systems, 3rd ed.: Prentice Hall.

[45]	S. G. Nersesov, W. M. Haddad, and Q. Hui, "Finite-time stabilization of nonlinear dynamical systems via control vector Lyapunov functions," J. Franklin Inst., vol. 345, pp. 819-837, 2008.

[46]	M. H. Rashid, Power electronics handbook, 3rd ed.: Elsevier, 2011.

[47]	R. Beres, X. Wang, F. Blaabjerg, C. L. Bak, and M. Liserre, "A review of passive filters for grid-connected voltage source converters," in 2014 IEEE Applied Power Electronics Conference and Exposition - APEC 2014, Fort Worth, TX, 2014, pp. 2208-2215.